Steam Gauge Verification Record                Exhibit 12 (Rev D)

Gauge Identification

SAM ID 	 Make 	Serial#

Gauge Max 	 Owner

Engine/Boiler 	MB B# 	MAWP

Notes

Comparison

Date 	 Personnel

Lifts at (PSI) 	 Test max PSI 	(MAWP × 1.25)

| Rising Pressure |  |  |  | Falling Pressure |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Field Gauge (Set) | Master Gauge (Read) | Field Gauge (Set) | Master Gauge (Read) | Field Gauge (Set) | Master Gauge (Read) | Field Gauge (Set) | Master Gauge (Read) |
| 0 |  | 170 |  | 0 |  | 170 |  |
| 10 |  | 175 |  | 10 |  | 175 |  |
| 20 |  | 180 |  | 20 |  | 180 |  |
| 25 |  | 190 |  | 25 |  | 190 |  |
| 30 |  | 200 |  | 30 |  | 200 |  |
| 40 |  | 210 |  | 40 |  | 210 |  |
| 50 |  | 220 |  | 50 |  | 220 |  |
| 60 |  | 225 |  | 60 |  | 225 |  |
| 70 |  | 210 |  | 70 |  | 210 |  |
| 75 |  | 220 |  | 75 |  | 220 |  |
| 80 |  | 225 |  | 80 |  | 225 |  |
| 90 |  | 230 |  | 90 |  | 230 |  |
| 100 |  | 240 |  | 100 |  | 240 |  |
| 110 |  | 250 |  | 110 |  | 250 |  |
| 120 |  | 260 |  | 120 |  | 260 |  |
| 125 |  | 270 |  | 125 |  | 270 |  |
| 130 |  | 275 |  | 130 |  | 275 |  |
| 140 |  | 280 |  | 140 |  | 280 |  |
| 150 |  | 290 |  | 150 |  | 290 |  |
| 160 |  | 300 |  | 160 |  | 300 |  |